## Risk Assessment
DRAFT Managing Coronavirus in Schools - Risk Assessment - Version 2.1
Area of control | Control Measures |  | Additional / altered measures / notes | Implemented by : Initial | Date Completed
1.Building Management / readiness | 1.1 | Inspect the site for :
| 1.1.1 | Check for any damage to asbestos material listed in register and report any issues for maintenance to: Corporate@howps.co.uk e.g these may have been damaged by rodent activity during the closure | Report PCC | PCC contractor | 2020-03-01
| 1.1.2 | Damage to the building and fixtures and fittings | Daily checks required by SLT | KL | 2020-06-05
| 1.1.3 | Damage to grounds, playgrounds, outdoor play equipment, fencing, trees etc… | Daily checks required by SLT | KL | 2020-06-05
| 1.1.4 | Rodent activity and/or infestations in the building e.g. ants - commissioning of pest control may be required | Wasp nest removal | KL | 2020-06-05
| 1.2 | Operational checks (to ensure good working order) to be carried out on :
| 1.2.1 | Fire alarms/smoke alarms/refuge alert systems/ panic and accessible-toilet alarms. | Chubb certificate in place | Chubb | 2020-02-01
| 1.2.2 | Fire-door mechanisms, smoke exhaust systems and smoke curtains to ensure they function. | Chubb | KL | 2020-06-05
| 1.2.3 | Emergency lighting | Chubb | Kl | 2020-06-05
| 1.2.4 | Gas supplies including boilers, point of use water heaters, science laboratories gas taps and kitchens |  | KL | 2020-06-01
| 1.2.5 | Kitchen equipment - Catering Service to check
| 1.2.6 | Ventilation systems including Local Exhaust Ventilation (extractor fans) in kitchens, Science, D&T, Food Technology and classrooms | Fans checked | PCC contractor | 2020-06-05
| 1.2.7 | Water systems including flushing through and disinfection in accordance with your legionella risk assessment and policy (Local authority will where required coordinate the flushing and disinfection of water systems) | Legionella audit | PCC contractor | 2020-06-09
| 1.2.8 | Water systems to look for leaks and ensure there is provision of hot water and report these to HoWPS: corporate@howps.co.uk |  | KL | 2020-06-08
| 1.2.9 | Windows, doors and gates including electronic gates and doors | Daily check required by SLT | KL | 2020-06-08
| 1.2.10 | Any D&T equipment is checked, and ensuring any PPE is available as required by risk assessments (no sharing) | PPE equipment to be stored near art and craft area. | KL | 2020-06-08
| 1.2.11 | Equipment used on site e.g floor cleaners, photocopiers, whiteboards (servicing should be in line with the manufacturer’s/provider’s requirements). Disposable mops heads and waste disposal in accordance with government guidance. | PAT testing 25/03/20 |  | 2020-03-25
| 1.2.12 | Lifts and lifting platforms to be checked | NA
| 1.2.13 | Inspection of tree condition and any dangerous branches, fallen trees etc. |  | KL | 2020-01-08
| 1.2.14 | Dog fouling on grassed playing field | Daily check required by SLT | SLT | 2020-06-08
| 1.3 | Ensure Statutory Inspections are up to date for :
| 1.3.1 | Lifts and Lifting Equipment (if the scheduled inspections have not taken place in the last six months); | Local authority to confirm inspection and certification in place to individual schools | NA
| 1.3.2 | Pressure systems (if the scheduled inspections have not taken place in the last 12 months); | As above
| 1.3.3 | Local Exhaust Ventilation (if the scheduled inspections have not taken place in the last 14 months); | As above
| 1.3.4 | Gas Appliances (if the scheduled inspections have not taken place in the last 12 months); | As above
| 1.3.5 | Fixed wiring (if the scheduled tests required by the regulations have not taken place in the last 5 years); | As above
| 1.3.6 | PAT (if the scheduled tests required by the regulations have not taken place in line with your individual deadlines) | As above
| 1.3.7 | Asbestos Management Plan (if the plan has not be re-assessed in the last 12 months); | As above
| 1.3.8 | Sports Equipment (if the scheduled inspections have not taken place in the last 12 months); | As above
| 1.3.9 | Fixed Outdoor Play Equipment including goal posts (if the scheduled inspections have not taken place in the last 12 months); | Scheduled inspection undertaken | Contractor | 2020-01-01
| 1.3.10 | Tree surveys (if the scheduled inspections have not taken place in the last 12 months); |  |  | 2020-01-08
| 1.3.11 | Fire Safety: 1. Ensure the school fire risk assessment is in place and updated and exit strategy taking into consideration COVID-19 risk and Personal Emergency Evacuation Plans 2. Contractor testing of the fire alarm (if this has not taken place in the last 6 months) 3. Fire extinguisher maintenance (if this has not taken place in the last 12 months) 4. Emergency lighting (if this has not taken place in the last 12 months) 5. Sprinkler systems (school weekly test & contractor 12 monthly tests) 6. Smoke exhaust and smoke curtains (contractor testing if it has not taken place in the last 12 months or in line with manufacturer’s guidance on testing) - high schools only 7. Evac chairs | School to undertake test of fire emergency lighting and fire alarm Local authority to confirm inspection and certification in place to individual schools Certificate in place Feb 2020 Annual checks undertaken | KL | 2020-06-05
| 1.4 | Cleaning of the premises
| 1.4.1 | Thorough cleaning is not required if no-one has been into the premises during the time of closure. It is recommended a 'standard cleaning schedule 010620' refer to attachment is undertaken. However, if someone goes into the premises within 3 days before the date of reopening, any areas accessed by that person must have a thorough clean of touch surfaces. | School operating as hub. Cleaning undertaken daily. Cleaning to be carried out Friday June 25th when hub closes. | Powys Cleaning | 2020-06-25
| 1.4.2 | If the school has been partially opened, then a full deep clean of the premises should not be necessary unless it has been required by Public Health Authorities. However, all touch surfaces should be given priority for cleaning, as should have been the case during the partial opening (refer to 'standard cleaning schedule 010620' ) |  | Powys Cleaning | 2020-06-25
| 1.5 | Supplies
| 1.5.1 | Ensuring you have adequate supplies of alcohol hand sanitiser, tissue, foot pedal bins in each room, soap and hand towels / drying facilities in kitchens, toilets, changing facilites and at sinks. | Audit of resources required. This will need to be updated weekly in light of being hub school. | KL | Weekly
| 1.5.2 | Ensuring you have adequate supplies of cleaning materials and any identifed PPE. | Current suppy in place. PCC delivering weekly to school | PCC contractor | Weekly
2. Assessing staff and pupil numbers to assist in plans for opening | 2.1 | Consider phasing the re-opening of the school to allow plans and procedures to be assessed, staff to be trained and levels of supplies actually needed to be fully ascertained. It is important to consider that plans are about ‘working towards’ the re-integration of pupils. Allowing time to review plans and carrying out regular review means that schools can judge how pupils can safely return to school. Consider starting with a manageable / sustainable plan and building from there rather than removing provision. | Staff training on use of PPE. Staff to be made aware of surfaces to wipe down before food consumed.Hub children and main school children to begin access on June 29th 2020. Weekly review with SLT & whole staff on operational matters. | KL/SLT/Whole staff | Training by 25/06/20
| 2.2 | Contact parents / carers of relevant pupils and staff to ascertain who will be coming into school / be available for work so that rotas, ratios, medical, SEN and first aid needs etc can be assessed. This will include assessing any staff or pupil needs / issues already identified on an individual staff or pupil risk assessment that may affect their ability to return or require further adjustments to be made. Any reasonable adjustments you'll need to make to enable everyone to follow the measures, including pupils with Statements or EHC plans who should have their own individual risk assessments already (e.g. having signs written in Braille, designing approaches to help children with challenging behaviour who may struggle to follow the rules) | Clarity around the provision of 1:1 for ALN needs - this will affect staff available. Risk assessments for individual pupils must be in place. Survey of parents by 12/06/20. Survey of staff by 15/06/20. Staffing organised - all cohorts to have consistent staff contact to minimise transfer. No staff or pupils to return who fall under the shielding or vulnerable categories as defined by WG and PHW. | KL
| 2.3 | Consider if it is possible to have all eligible year groups back in school at all times dependant on sufficient space and staffing to maintain social distancing and adequately supervise pupils. This will include assessing whether pupils can safely be in school for full days, full weeks or consecutive days. For example some schools are looking at shift patterns; others at 2 days in for one year group and two for another; others at half days per year group. | 4 year groups per day, third of class. Emergency children in separate room. | KL | 2020-06-14
| 2.4 | Consider that staff are likely to be still be supporting remote learning of pupils not attending school for whatever reason and that additional PPA time may be needed on staffing rotas to support this or support amended learning plans. | Each teacher given 2 day per week non contact time to facilitate home learning | KL | 2020-06-14
| 2.5 | Consider that if there is a positive case in school that staff and pupil numbers may be affected. | Rota of staff to be assessed daily. | KL | 2020-06-14
| 2.6 | Communicate with parents / carers that the school will require adequate notice if a pupil who has not been in school is to start attending school. This is to avoid additional pupils turning up without prior notice as this may affect staff ratios, occupancy rates, first aid and medical needs, catering, fire safety, Bus transport, school uniform etc.. | Parents to give 5 school days notice if they decide to begin accessing the check in session. All KW & vulnerable children to book in by a Thursday using the PCC booking system. | KL | 2020-06-14
Ongoing
| 2.7 | Review ratios, rotas, medical and first aid needs on an ongoing basis. Point of contact for First Aid arrangements. | Daily assessment required.
3.Updating pupil and staff details | 3.1 | Obtain up to date medical, allergy and emergency contact details from pupils and staff prior to coming back on site wherever possible. | Use registration forms for each returning pupil so that parents sign to agree no COVID 19 | KL
| 3.2 | Re-assess if Individual Pupil Resourcing Agreement (Statement) are needed or need to be altered given the altered nature of the school use, day, timetable, staffing, medical needs, SEN adaptations etc…Control measures and risk ratings may need to be altered to reflect the current situation. | Local authority to review any adaptation requirements for pupil admission | PCC
| 3.3 | Staff should be made aware of any / reminded of medical conditions / needs of the pupils they are caring for e.g. allergies, asthma etc. and devices such as epi pins and inhalers should be available wherever the pupil is. Ensure staff are trained in their use. | All staff to refresh understanding of pupil individual needs when check in children known. | KL/SLT/Whole staff
| 3.4 | Food allergies / intolerances information should be shared with catering staff for staff and children they may not already be aware of. | NA - no catering provision
| 3.5 | Schools should continue to adhere to their medical needs policy regarding the administration of medication taking into consideration social distancing and PPE requirements. | PPE training to be shared with staff. | KL | 2020-06-25
| 3.6 | If staff and pupils are based at sites which are not their usual location they should share relevant medical conditions so these can be assessed and steps taken to manage them as above. | NA
4.Assess activities / lessons which can take place | 4.1 | Teaching and play activities which require close direct supervision or contact should cease e.g gymnastics and football in PE, use of machinery in D&T and higher level / risk science experiments. |  | KL | 2020-06-14
| 4.2 | Indoor and outdoor equipment that cannot easily be cleaned after each user or kept for one user at a time should be taken out of use e.g trim trails, climbing frames, indoor and outdoor gyms. | Staff to re organise equipment to be used. Rota of equipment to be used to be established for each cohort to avoid cross contamination. | Staff | 2020-06-25
| 4.3 | Reduce the use of shared resources e.g stationary, books etc . and allocate individual resources to pupils wherever possible that is for their sole use. | Individual packs to be created for returning children | Staff | 2020-06-25
| 4.4 | Remove altogether, soft toys, soft decorations e.g hanging displays in classrooms and other more difficult to keep clean equipment. Other equipment that is kept for the sole use of a discreet group of staff and pupils can be cleaned at the end of the day, but keep to a minimum. | Equipment to be removed | Staff | 2020-06-25
| 4.5 | Shared materials and surfaces should be cleaned and disinfected more frequently as per standard cleaning schedule | Staff to be aware of surfaces to be cleaned. Cleaner to be on site all day to facilitate cleaning of high touch contact areas. | KL/PC | 2020-06-14
| 4.6 | Amend / stagger timetables for activities using halls or classrooms where activities cannot be done elsewhere e.g D&T, practical science, art, so that groups of pupils can move around safely. | Outside area to be delineated and timetabled to facilitate all pupils having access to all areas during the day. | Staff | 2020-06-25
| 4.7 | Areas of the school not in use will be shut off to make cleaning more manageable and must have notices on the doors. Flushing of water outlets for rooms not in use must continue in accordance with the Water and Legionella risk assessment. |  | KL | 2020-06-25
Ongoing
| 4.7 | Review how pupils and staff are interacting, numbers on site, how equipment is being used and cease or re-instate activities / equipment as necessary. |  | KL | Daily
5.Information to pupils, staff, parents / carers, visitors and contractors. | 5.1 | Clear communication with parents / carers is essential from the school and the LA so they understand what schools can offer safely to their children. | Issue information from PCC. Video and written communication with parents re re opening of school, organisational matters, contact, booking in for HuB children. | KL | 7/06/20 - 29/06/20
| 5.2 | All persons likely to come onto the school grounds must be informed they must not attend if they are displaying any symptoms of Coronavirus, or if they are self isolating following Government Guidance for households with family members displaying symptoms. | Communicate to parents via Schoop | KL | 15/06/20 - 24/07/20
| 5.3 | This may be by news letters, letters, emails, signs etc…
6.Clinically extremely vulnerable and vulnerable staff and pupils | 6.1 | Clinically Extremely Vulnerable persons.
| 6.1.1 | Staff and pupils who are classed as clinically extremely vulnerable should not come into school and should continue to shield themselves. | Contact made with individual staff involved. | KL | 2020-06-10
| 6.1.2 | Living with a clinically extremely vulnerable person – if a pupil or staff member lives with someone who is clinically extremely vulnerable they should only be in school if stringent social distancing can be adhered to and, in the case of children, they are able to understand and follow those instructions. This may not be possible for very young children and older children without the capacity to adhere to the instructions on social distancing. If stringent social distancing cannot be adhered to, those pupils and staff should continue to learn / work from home. PCC Community and VC schools must have regard to the government guidance issued in Coronavirus (COVID-19). | Contact made with individual staff involved. | KL | 2020-06-10
| 6.2 | Clinically vulnerable persons
| 6.2.1 | Staff - Clinically vulnerable staff (including staff who are pregnant) who are at higher risk of severe illness have been advised by the Government to take extra care in observing social distancing and they should work from home where possible e.g by asking staff to support remote education, carry out lesson planning or other roles which can be done from home. If clinically vulnerable (but not clinically extremely vulnerable) staff cannot work from home, they should be offered the safest available on-site roles, staying 2 metres away from others wherever possible, although the individual may choose to take on a role that does not allow for this distance if they prefer to do so. If clinically vulnerable staff are on site settings must carefully assess and discuss with them whether this involves an acceptable level of risk via the use of an employee risk assessment. PCC VA and VC schools must have regard to the government guidance issued on Coronavirus (COVID-19) . | Staff undertaken risk assessment. Risk factor 3 (low). However, referred to Oc Health for discussion due to uncertainty with other issue. | KL | 2020-06-10
| 6.2.2 | Pupils - a small minority of children will fall into this category, and schools should work with parents to follow medical advice if their child is in this category. An Individual Pupil Resourcing Agreement (Statement) will be required for that pupil if they are to come on site. | KL to contact relevant pupil. | KL | 2020-06-29
| 6.2.3 | Living with someone who is clinically vulnerable – pupil or a member of staff lives with someone who is clinically vulnerable (but not clinically extremely vulnerable), including those who are pregnant, they can attend their education or childcare setting providing the risks have been assessed and discussed with them / their parents / carers about whether this involves an acceptable level of risk. PCC Community and VC schools must have regard to the government guidance issued in Coronavirus (COVID-19). | Share information with parents. Individually assess and discuss with any affected families. | KL | 2020-06-29
7.Persons who are already displaying Coronavirus symptoms | 7.1 | All persons who are displaying symptoms must not come into school and should follow Government guidance on self isolating. |  | KL | 2020-06-29
| 7.2 | Persons whose family members are displaying symptoms of Coronavirus must follow Government guidance regarding self isolating. |  | KL | 2020-06-29
8.Persons developing Coronavirus symptoms whilst on site | 8.1 | All persons who develop Coronavirus symptoms, however mild should be sent home as soon as possible and they should then follow government guidance on self-isolating and testing. They should self-isolate for 7 days and their fellow household members should self-isolate for 14 days. All staff and pupils who are attending an education or childcare setting will have access to a test if they display symptoms of coronavirus. | All persons to be sent to isolation room. Immediate contact with parents for collection. If member of staff, staff to be sent home immediately or collected by family member. | KL | 2020-06-29
| 8.2 | Whilst awaiting pick up persons should be isolated in a separate area with a closed door (and preferably an open window). Pupils will need to be supervised whilst this takes place. Consider if you can set aside a separate room to be available for potential isolation of staff and pupils. Refer to PCC 'COVID-19 isolation process 020620’ document | Teacher Centre to be used as isolation room. PPE to be in room. | Kl | 2020-06-29
| 8.3 | An (Fluid Resistant Surgical Mask) FRSM face mask should be worn by the supervising adult if a distance of 2 metres cannot be maintained. If contact with the child or young person is necessary, then gloves, an apron and a IIR face mask should be worn by the supervising adult. If a risk assessment determines that there is a risk of splashing to the eyes, for example from coughing, spitting, or vomiting, then eye protection should also be worn. | Staff training on use of PPE. | KL | 2020-06-29
| 8.4 | Where the child, young person or staff member tests negative, they can return to their setting and the fellow household members can end their self-isolation. Parent to confirm in writing date when self isolation ends to school. |  | KL
| 8.5 | Where the child, young person or staff member tests positive, the rest of their class or group within their childcare or education setting should be sent home and advised to self-isolate for 14 days. The other household members of that wider class or group do not need to self-isolate unless the child, young person or staff member they live with in that group subsequently develops symptoms. | Immediate communication with all staff, children involved. | KL
| 8.6 | As part of the national test and trace programme, if other cases are detected within the cohort or in the wider setting, Public Health Wales’s local health protection teams will conduct a rapid investigation and will advise schools and other settings on the most appropriate action to take. In some cases a larger number of other children, young people may be asked to self-isolate at home as a precautionary measure – perhaps the whole class, site or year group. Where settings are observing guidance on infection prevention and control, which will reduce risk of transmission, closure of the whole setting will not generally be necessary. | Any pupil, member of staff, school governor, contractor or visitor will be asked not to come into school if they or anyone they live with is experiencing coronavirus symptoms, and instead follow official self-isolation guidance. Regular reminders will be given about this. Anyone self-isolating with symptoms will be encouraged to access testing. Anyone with symptoms of the virus can apply for a home test kit or make an appointment at a drive-through test centre. An online portal is available for anyone who has symptoms in Wales to book an appointment. See hyperlink to access testing: https://www.nhs.uk/ask-for-a-coronavirus-test If you get a positive test, you will be contacted by a contact tracer. That person will ask for details of all the individual has had contact with while they had had symptoms. Those contacts will then be followed up and asked to self-isolate for 14 days as a precaution to prevent the virus spreading further. Who counts as a contact? A contact is defined as:  someone you have been within one metre of and had a face-to-face-conversation, had skin-to-skin contact with or have coughed on, or been in other forms of contact for a minute or longer  someone you have been within two metres of for more than 15 minutes  someone you have travelled in a vehicle with or sat near on public transport | KL - e mail shared with staff 12/06/20
| 8.7 | If a member of staff has helped someone who was unwell with a new, continuous cough or a high temperature, they do not need to go home unless they develop symptoms themselves or the pupil or staff member subsequently tests positive. They should wash their hands thoroughly for 20 seconds after any contact with someone who is unwell. |  | KL
| 8.8 | A deep clean will take place in the areas of the school where the symptomatic person has been in accordance with and the Powys CC deep cleaning schedule document ‘SWP 11.70 Deep Clean 060420’. PPE must be disposed of properly, following decontamination guidance. | Cleaners must follow PCC Corporate PPE guidance | PCC
| 8.9 | A separate sanitary facility where practical be provided for individuals who display symptoms. These should be cleaned and disinfected using standard cleaning products before being used by anyone else as should any areas they are isolated in. | Cleaners must follow PCC Corporate PPE guidance | PCC
| 8.1 | Consider if possible the provision of an additional sterile classroom/space which could be used to move a group to where a member of that group has displayed symptoms. This may enable cleaning and disinfection of the potentially contaminated area. | Teacher Centre . | KL
Follow the government guidance below if you have reasonable grounds to suspect a member of staff or pupil has contracted Coronavirus through attendance at school
Useful information on self isolating
https://www.gov.uk/government/publications/covid-19-stay-at-home-guidance/stay-at-home-guidance-for-households-with-possible-coronavirus-covid-19-infection
9.Controlling access into the school for staff, pupils and members of the public. | 9.1 | Consider staggering start and finish times, attendance times / days etc where possible to limit numbers of children and adults arriving / leaving at the same time. This may be by year groups or learning / class groups. | 4 start times, beginning at 8.50 am with 15 min intervals. 4 leaving times beginning at 2.30 with 15 min intervals. Only one parent to pick up/drop off. Parents and children to remain in car if they arrive early to avoid collections of people. | KL | 2020-06-29
| 9.2 | Open as many access points into the school grounds during drop off and pick up as possible to assist with social distancing. | Hub children to access school via hall door. Camau Bach to access via own door. Main door to be used for other entry. | Kl | 2020-06-29
| 9.3 | Where possible have separate access and exit points into the building for different groups of pupils and staff as close as possible to their designated classroom / work areas. Rooms / work areas should be accessed directly from outside where practicable. | see 9.2 | KL | 2020-06-29
| 9.4 | Where possible, at drop off and pick up times to avoid the contamination of door handles doors should be kept open or only opened / closed by the member of staff responsible for that area and regularly cleaned / sanitised. Safeguarding and health and safety must be assessed to see if this is appropriate, especially for younger children and pupils with SEN needs and fire procedures will need to be altered to ensure those doors are closed should the fire alarm sound.
| 9.5 | Parents and carers should be advised not to congregate in playgrounds / outside school and to observe social distancing. If possible areas outside drop off / pick up points could be marked with 2m distance markers to help. | Ensure protocols in place for pupils dropped off and picked up by taxi | KL | 2020-06-15
| 9.6 | Parents and carers should be advised that only one adult should accompany their child to / from school. Avoid drop off and pick up by older family or community members (e.g. grandparents) |  | KL | 2020-06-29
| 9.7 | Parents and carers should be informed they should not come into the school building unless by prior arrangement and an appointment. | Parents informed | KL | 2020-06-15
| 9.8 | Staff should access and exit through the closest entrance to the area they will be based in. School to put in place access arrangements. |  | KL | 2020-06-29
| 9.9 | Inform suppliers, contractors, visitors as far as possible of the times the school is open and the procedures for accessing the site if these have changed. Before any adult enters the school they are to be thermal scanned with an infra- red thermometer, ensure the person scanning has appropriate PPE. | It is assumed the mitigation and controls must be in place at all times when the school: 1. Is occupied by pupils, school staff and catering and cleaning staff 2. Has school transport of pupils by Powys CC Transport staff and Transport assistants 3. Takes delivery of school or catering goods. 4. Receives waste bin collection. 5. Has visitors including school governors, parents or public visitors, Local Authority or Local Health Board staff and emergency services staff. 6. Has contractors visiting to undertake repairs, maintenance or improvement works to the premises and statutory compliance testing and inspections. | KL | 2020-06-29
| 9.1 | Building plans can be utilised to plan and mark on any entry or exit routes to provide a visual document for staff, pupils and parents / carers. | Local authority to provide a copy of the building plans and provide any local advice and guidance where required.
| 9.11 | School registers could be taken upon entry at the school gate to prevent any unauthorised entry from pupils, particularly if staff are unfamiliar with the pupils they are working with. | HUB children to be signed in. Daily register in class groups. | KL/staff | 2020-06-29
| 9.12 | Communicate with parents / carers that the school will require adequate notice if a pupil who has not been in school is to start attending school. This is to avoid additional pupils turning up without prior notice as this may affect staff ratios, occupancy rates, first aid and medical needs, catering, fire safety, bus transport etc.. |  | KL | 2020-06-15
10.Handwashing and hand sanitisers | 10.1 | Alcohol hand sanitiser points are to be placed at the entrance to the building and get staff, visitors and pupils to use them on entry and exit. |  | KL | 2020-06-19
| 10.2 | Pupils and staff should wash their hands with soap and water for at least 20 seconds on entering their allocated area and at regular intervals throughout the day, particularly after going to the toilet, touching faces, coughing or sneezing, learning outside and before and after eating. Paper towels should be available for drying hands where practicable. | This will be reiterated many times a day. | All staff | Daily
| 10.3 | If sinks are not available close to or in classrooms / work areas then handwashing bowls and / or hand sanitiser must be provided. | sinks in each room | All staff | Daily
| 10.4 | All persons should wash their hands with soap and water for at least 20 seconds before leaving the premises. |  | All staff | Daily
| 10.5 | Tissues should be available in all group areas and should be single use only and disposed of in a foot pedal bin after use. Follow government guidance for disposal. |  | KL | 2020-06-29
| 10.6 | Any waste products used by staff or pupils that start to show symptoms whilst in school should be double bagged and kept (securely) for 72 hours before being disposed in the school bin store. N.B. the virus cannot survive on a surface for more than 72 hours according to current guidance. |  | All staff | 2020-06-29
| 10.7 | In addition staff are to wash hands on entry to staff rooms, before and after preparing food and drinks, and before leaving. |  | All staff | 2020-06-29
11.Cleaning | 11.1 | General Cleaning
| 11.1.1 | Cleaning should be carried out using standard cleaning chemicals/disinfectant and / or anti-viral wipes and sprays in accordance with 'standard cleaning schedule 010620'. | Refer to PCC 'Standard Cleaning schedule 010620' document CLEANER ON SITE ALL DAY | PCC
| 11.1.2 | Have a dedicated provision of cleaning products in each classroom / work area in use containing hand sanitisers, anti – viral wipes / sprays, paper towels, soap, tissues e.g in a container like a storage box, workbox etc so it is easy to pick up and move around the space as required. These should be stored out of reach of pupils. | As above | PCC/KL
| 11.1.3 | Cleaning should be prioritised to cover regularly touched surfaces e.g. door handles, tables, chairs, toilets, wash basins etc. and should be done with hot soapy water and disinfectant. | As above CLEANER ON SITE ALL DAY
| 11.1.4 | Clean surfaces that children and young people are touching, such as toys, books, desks, chairs, doors, sinks, toilets, light switches, bannisters, more regularly than normal. | As above
| 11.1.5 | Shared materials and surfaces should be cleaned and disinfected more frequently. | As above
| 11.1.6 | Staff undertaking wider cleaning should wear disposable non-latex gloves and aprons and change these after cleaning each separate area. | As above
| 11.2 | Rooms used for Isolating persons displaying symptoms
| 11.2.1 | Rooms used for isolating pupils or staff who display symptoms of Coronavirus then undertake deep clean of that room. | Refer to deep cleaning schedule 'SWP 11.7 Coronavirus deep clean 060420' and isolation process 'COVID-19 Isolation process 020620'.
| 11.3 | Clothing
| 11.3.1 | There is no need for anything other than normal personal hygiene and washing of clothes following a day in school. However to allow pupils (and staff where uniform is usually worn) to wear clean clothes every day you may wish to consider relaxing or removing the need to wear uniform with guidelines on appropriate dress e.g as on non uniform days. | Parents to be informed of this | KL | 2020-06-15
| 11.4 | Hygiene Suites / Intimate Care Facilities
| 11.4.1 | Hygiene suites and intimate care facilities should be cleaned between pupils including slings and hoists, control panels. See Section 17 for PPE guidance. | Cleaner on site all day | PCC
| 11.5 | Powys County Council / Contract cleaning providers
| 11.5.1 | Additonal / alterations to cleaning may be available on request – for example PCC Cleaning Service / Contract cleaning may be able to provide:- | Cleaner on site all day | PCC
|  | Changes to contracted cleaning if areas to clean have been reduced then the cleaning team may be able to utilise the extra contracted time to do:- |  | PCC
|  | Enhanced cleans of areas, which may include other items not on contract or a more thorough clean of touch points. |  | PCC
|  | Cleaning of hard surface toys such as plastics, wood, sports equipment etc. |  | PCC
|  | Additional hours throughout the day i.e. midday cleans if school attendance is to be split between morning and afternoon. |  | PCC
12.Social Distancing |  | Government Guidance states that
“We know that, unlike older children and adults, early years and primary age children cannot be expected to remain 2 metres apart from each other and staff. In deciding to bring more children back to early years and schools, we are taking this into account. Schools should therefore work through the hierarchy of measures set out above:
avoiding contact with anyone with symptoms
frequent hand cleaning and good respiratory hygiene practices
regular cleaning of settings
minimising contact and mixing
It is still important to reduce contact between people as much as possible, and we can achieve that and reduce transmission risk by ensuring children, young people and staff where possible, only mix in a small, consistent group and that small group stays away from other people and groups.
Public Health England (PHE) is clear that if early years settings, schools and colleges do this, and crucially if they are also applying regular hand cleaning, hygiene and cleaning measures and handling potential cases of the virus as per the advice, then the risk of transmission will be lowered.”
| 12.1 | Corridors and Circulation Spaces
| 12.1.1 | Corridors could be marked out with 2m indicators as a visual aid for social distancing. | Use building plans provide by local authority | KL
| 12.1.2 | A system for movement around school, into / out of classrooms, use of toilets should be devised to avoid paths crossing where possible e.g use of one way systems, 2m queues, controlled access / exit. Staggering break times, lunchtimes and lesson change over will help minimise corridor occupancy. | As above | KL
| 12.2 | Classrooms / Learning Areas
| 12.2.1 | Keep cohorts together wherever possible. | Operational plan in place to facilitate cohort bubbbles on a daily basis. | KL | 2020-06-15
| 12.2.2 | Classes and groups of pupils should be kept to a minimal size to allow 2m social distancing. The Government recommends no more than half the size of the normal class however this is likely to be smaller if 2m social distancing cannot be achieved. As a starting guide measure the usable m2 of the space available and divide by 4 (this allows for 2m social distancing space) to determine a maximum occupancy for that space (including staff and pupils) e.g 48m2 space = 12 persons maximum. | Use building plans provide by local authority | KL | 2020-06-29
| 12.2.3 | Classrooms desks (if in use) should be laid out to allow a 2m distance between each person (measured from where they are likely to be seated) and the location of the members of staff in that room. Chairs / desks surplus to requirements could be removed to assist social distancing, movement round the class, and reduce potential touch points. Tables / furniture not in use could potentially be used as physical barrier to separate areas of the classroom if suitable. |  | KL/staff | 2020-06-29
| 12.2.4 | Reception and early years rooms may need ‘play areas’ removed / altered to allow more space in the room and to aid with social distancing. As these classes may need to be split to allow social distancing the furniture / play areas could be split between two or more areas. |  | KL/staff | 2020-06-29
| 12.2.5 | If other members of staff need to speak to / visit a different area e.g SLT they should avoid entering into the room wherever possible e.g stand in the doorway, as entering the area will affect occupancy. Administration of emergency first aid is an exception to this. |  | KL/staff | 2020-06-29
| 12.2.6 | Staff and pupils should stay in the same specified groups throughout their attendance time and each subsequent time wherever possible and sit at the same desks on consecutive days (if applicable and possible.) It is recognised this may not be possible in secondary schools due to the subject and streamed nature of teaching. |  | KL/staff | 2020-06-29
| 12.2.7 | Ensure that the same teacher(s) and other staff are assigned to each group and, as far as possible, these stay the same during the day and on subsequent days, recognising for secondary settings there will be subject specialist rotation of staff. | Operational plan in place.Welfare breaks to be covered within plan. | KL | 2020-06-29
| 12.2.8 | Ensure that wherever possible pupils use the same classroom or area of a setting throughout the day, with a cleaning of the rooms at the end of the day. It is recognised this may not be possible in secondary schools due to the subject and streamed nature of teaching. | Refer to PCC 'Standard Cleaning schedule 010620' document | PCC
| 12.2.9 | All groups of staff and children should be kept separate in different areas with sinks available (where possible) and observe social distancing in these areas and when moving around school as far as possible. | Operational plan in place | KL | 2020-06-29
| 12.2.10 | Where possible consider carrying out any necessary closer supervision side on rather than face on. |  | KL
| 12.3 | Cloakrooms
| 12.3.1 | Consider how many pupils will be using cloak areas / pegs and take steps to minimise persons being closer than 2m e.g space out the ones in use to keep a 2m distance, rota access to these areas, keep bags and coats with the individual. | Areas to be assigned as per classes. | Staff | 2020-06-29
| 12.4 | Outdoor Areas
| 12.4.1 | Pupils and staff should maintain social distancing when outside and stay within their discrete learning group. Groups should not mix outside. | Outside area to be delineated and timetabled to facilitate all pupils having access to all areas during the day. | Staff | 2020-06-25
| 12.4.2 | Sports Development staff or Schools staff in Schools using hard surface equipment to enable sports activities with children - indoor and outdoor activities. Wash hands with soap and water before and after activities, meals, toileting on arrival and departure from school |  | Staff | 2020-06-25
| 12.5 | Breaks and Lunchtimes
| 12.5.1 | Breaks and lunchtimes should be staggered to allow safe movement around the school, safe use of the play areas and dining halls. | Operational plan to facilitate this. | KL | 2020-06-25
| 12.5.2 | If it not possible to achieve social distancing and clean tables and seating between groups of pupils and staff in the dining hall then lunch should be served in the areas the groups are based in and not all together in dining halls. Staggering lunch and accessing the dining area on a rota may help. Discrete learning groups should not mix in the dining hall or outside. | Food to be eaten in cohort spaces only. No hot food all to have packed lunches. | KL/staff | 2020-06-29
| 12.6 | Toilets
| 12.6.1 | Use of toilets should be for individual groups where possible as close to their learning base with social distancing observed if groups have share / mix e.g. staff toilets, shared toilets off corridors / between classrooms. | Cloakrooms identifed for use. Hub children to use disabled toilet in main corridor. | KL | 2020-06-29
| 12.6.2 | Limit the number of children or young people who use the toilet facilities at one time and supervise numbers in and out and in the corridor. |  | Staff | 2020-06-29
| 12.6.3 | Wash hands before and after using the toilet (or use hand sanitisers if hand washing is difficult to achieve). |  | Staff | Daily
| 12.6.4 | Where possible staff should use the staff toilets as close to their work areas as possible and follow social distancing guidelines when moving to / from them. |  | Staff | Daily
| 12.6.5 | For older pupils and staff toilets it is good practice for pupils and staff using the facilities to wipe down door handles, toilet seats and flush handles after use with an anti-viral wipe following a “If You Use It – Wipe It” principle. | NA
| 12.6.6 | Signage to the backs of toilet doors and above sinks could be provided to remind pupils and staff to wash their hands and follow the “If You Use It – Wipe It” principle (for older pupils, staff and visitor facilities). Provide bins for the disposal of wipes if not already in place. | Ensure signage on toilet doors | Staff | 2020-06-25
| 12.7 | Assemblies / Collective Worship
| 12.7.1 | Assemblies should be suspended during this current period until further notice. |  | KL | 14/-6/20
| 12.7.2 | If collective worship is required this should be carried out following the guidelines on social distancing, spacing, occupancy and keeping staff and pupils in their discrete groups. It may be possible to carry this out in the areas each group is based. | NA
| 12.8 | Staff areas
| 12.8.1 | Staff rooms and offices should be re-arranged to have 2m gaps between seating and work stations and / or stagger breaks / lunchtime or use a rota for common resources and areas to limit staff numbers using the area at any one time. Staff should observe social distancing in these areas. | Staff room to be used on rota basis, linked to staggered breaks to limit number of staff in room. | KL/staff | 2020-06-14
| 12.8.2 | Consider creating additional staff break areas to limit use and aid with social distancing. | As above | KL/staff | 2020-06-14
| 12.8.3 | For shared touch points e.g door handles, drawer handles, microwaves, kettle handles, hot water handles, photocopiers, keyboards etc follow the “If You Use It – Wipe It” principle with anti-viral wipes. |  | Staff | 2020-06-14
| 12.8.4 | Consider stopping the use of shared resources such as fridges, milk, tea, coffee etc to minimise touch points and advise staff to bring their own provisions in (in a cool bag if food needs to be kept cold). | Wipes to be placed by water heater and fridge. | Staff | 2020-06-14
| 12.9 | Communication
| 12.9.1 | It is recommended that staff share mobile phone numbers and communicate via these between groups where possible or that school phones or walkie talkies are used to minimise movement between groups. If staff need to communicate outside their groups they should observe social distancing. | Staff to have mobile phones with them, on vibrate. Only to be used in case of emergency. | Staff | 2020-06-29
| 12.9.2 | In these exceptional circumstances it is recognised that staff that are still working may need to have their personal mobile phones with them whilst at work for emergency access. In such situations, staff should still follow the practice principles outlined in the guidance for safer working and the school’s acceptable use policy regarding the use of their own phones. |  | Staff | 2020-06-29
13.First Aid | 13.1 | Ensure adequate first aid provision for the numbers of staff and pupils on site, this is likely to include staff with Full FAW qualifications and paediatric first aiders for early years settings. | Ensure there is PPE FRSM masks, non-latex gloves and eye protection available at First aid points. | KL | 2020-06-25
| 13.2 | Paediatric first aiders must be present on site at all times children up to the age of 2 are on site. Schools must take best endeavours to ensure a paediatric first aider is on site at all times children up to the age of 5 are on site. If this is not possible follow the PCC Corporate working arrangements for First aid arrangements and the associated risk assessment. | First aiders on duty daily. | Kl | 2020-06-29
| 13.3 | Limit or cease activities more likely to result in injuries e.g gymnastics, D&T, science. | None to be undertaken | KL | 2020-06-14
14.Biometrics, Lifts, electronic signing in / out systems and control panels / buttons. Shared IT. | 14.1 | If it is not possible to clean surfaces between each user then the use of biometrics should be replaced with an alternative non contact system where possible e.g entry points, registration, food and drink purchasing. | NA
| 14.2 | Alcohol sanitisers could be used before touching biometrics if they cannot be cleaned between users. | Sanitisers in place in each room | KL | 2020-06-25
| 14.3 | The use of Lifts and control panels should be limited to essential users only and should be cleaned between users and part of cleaning schedule e.g using alcohol hand sanitisers or anti-viral wipes. Pupils should be timetabled downstairs. | NA
| 14.4 | Electronic signing in / out systems should not be used at this current time unless they can be cleaned between users either by the use of alcohol hand sanitisers or anti-viral wipes. | NA
| 14.5 | IT equipment should be cleaned with alcohol wipes/sanitiser sparys between users if it cannot be kept for the sole use of an individual. | Wiping of chromebooks to be undertaken after use. Wipes to be in place. | Staff | 2020-06-29
15.General controls | 15.1 | Ventilation
| 15.1.1 | Where possible, to aid ventilation and avoid the contamination of door handles that need to be opened / closed regularly, doors should be kept open or only opened / closed by the member of staff responsible for that area and regularly cleaned / sanitised. Safeguarding and health and safety must be assessed to see if this is appropriate, especially for younger children and pupils with SEN needs and fire procedures will need to be altered to ensure those doors are closed should the fire alarm sound. | Doors to be opened, in line with advice from fire service. | KL | 2020-06-29
| 15.1.2 | Where possible open windows to classrooms, offices, staff rooms etc. |  | Staff | 29.06/20
| 15.1.3 | If rooms have shared air conditioning systems that do not filter the extracted air before it flows into another room these rooms should not be used. | Switch off air conditioning system where practicable
| 15.2 | Learning Outside
| 15.2.1 | Learning outside is encouraged wherever possible, following social distancing and hygiene guidelines. Suggestions and Learning Outside the Classroom guides and advice can be found on Evolve. | Learning menu to include activites outside. Well being activities to be carried out outside wherever possible. | Staff | 2020-06-29
| 15.3 | Medical Needs
| 15.3.1 | Staff should be made aware of any medical conditions / needs of the CYP they are caring for e.g. allergies, asthma etc. and devices such as epi pins and inhalers should be available wherever the CYP is. Ensure staff are trained in their use. | Ensure there is PPE FRSM masks, non-latex gloves and eye protection. | KL | 2020-06-25
| 15.3.2 | Food allergies / intolerances information should be shared with catering staff for staff and children they may not already be aware of. | NA
| 15.4 | Water fountains
| 15.4.1 | Drinking water fountains in shared pupil areas should be taken out of use. | NA
| 15.4.2 | Water bottles can be filled up from the taps in designated water stations by a member of staff (only in primary setting) so long as the water is potable (drinking) water. Sanitsation of hands and bottle before and after. | All bottles to be wiped down on entry. | KL/SH | 2020-06-29
16.Educational Visits | 16.1 | Government guidance is currently that all local, national and international educational visits are ceased for the time being.
| 16.2 | For local visits e.g to local parks etc - if this is lifted further guidance has been provided by the Schools Health, Safety and Wellbeing Team on managing local visits, especially regarding social distancing and hygiene. There is also guidance on www.oeapng.info 4.4k Coronavirus Suggestions and Learning Outside the Classroom guides and advice can be found on Evolve.
| 16.3 | Government guidance should be followed for national and international visits if restrictions are lifted. Guidance will be available of Evolve and will be updated as the situation changes.
17.PPE for staff and pupils | 17.1 | Government has advised there is no need for staff or pupils to wear face coverings or face masks as a matter of course when in school. Staff or pupils may make an individual choice to wear an appropriate face covering or face mask they provide for themselves.
| 17.2 | Activities such as close intimate care e.g nappy changing, invasive medical procedures, assisting with feeding necessitate closer contact with pupils. Staff carrying out these activities should wear disposable gloves and aprons and may need FRSM masks and eye protection. This would need to be assessed on a case by case basis. | Staff informed. | KL | 2020-06-12
| 17.3 | If PPE is identified as necessary for certain activities or staff through a risk assessment then this should be provided by the school. | Schools to asses their indvidual needs and follow the guidance for non-social care settings.
| 17.4 | Reusable eye protection / face coverings should be thoroughly disinfected and cleaned between each individual person being assisted.
18.Staff Wellbeing | 18.1 | Consult with and involve staff in the setting up of individual school plans and systems as far as possible and discuss / share this risk assessment.
| 18.2 | Consider building in familiarisation time, training time and practice time for staff before opening the school to pupils. | Staff training on PPE/orgainsational matters undertaken | KL | 12/06/20 19/06/20
| 18.3 | Wherever possible rota staff who have to come in to help manage their wellbeing and concerns. Consideration should be given to staff that have worked over holidays and the guidance that TAs can teach groups to allow staff adequate breaks / fair allocation of workloads. | Staff rota over 5 days in place. Teachers 2 days non contact time. | KL | 2020-06-14
| 18.4 | Consider if employee risk assessments need to be amended or new ones carried out for staff experiencing mental health issues. A WASP is available via Powys CC. e.g. if you have BAME staff, take a look at advice from BAMEed |  | KL
| 18.5 | It is recommended that regular staff meetings (via skype etc. or following social distancing rules) are undertaken with staff on site and that regular telephone, skype etc. communication is held with staff who are not present to maintain contact and assist wellbeing. Setting up closed WhatsApp groups etc. may help (staff will still need to follow Safer Working practices and adhere to the guidelines on the use of social media).
| 18.6 | Identify Mental Health First Aiders. | Mental health support has already been shared with all staff | KL | 2020-06-14
| 18.7 | Inform staff about support via Education Support Partnerships and HELP Assist (for Community, VC and schools with a HR or H&S SLA). | Staff already informed | KL | 2020-06-14
Guidance on Staff Wellbeing is available on PCC
19.Contractors visiting site | 19.1 | Minimise visits to essential visits only e.g to carry out statutory testing, repair work or building works. |  | KL | 2020-06-14
| 19.2 | Contractors should provide their risk assessments and discuss additional needs with the school prior to visiting. |  | KL
| 19.3 | Contractors must adhere to social distancing guidelines. |  | KL
| 19.4 | Contractors to carry out regular handwashing and sanitising, especially on arrival at the school and throughout their time on site. |  | KL
| 19.5 | If contractors need supervising this should be done following social distancing guidelines. |  | KL
| 19.6 | Contractors to follow Government guidelines on self isolating if they or their family members display any symptoms. |  | KL
| 19.7 | If contractors display any symptoms whilst on site they should be asked to leave immediately and any areas / equipment they have been working in / on isolated for 72 hours or thoroughly deep cleaned prior to admitting other persons / being used. | Refer to deep cleaning schedule
| 19.8 | If contractors are on site for long periods of time a separate toilet facility could be identified for their sole use and cleaned after their work has ceased and before being used by the school again. If this can't be established then inform contractors of the “If You Use It – Wipe It” principle. | Where practicable contractor welfare facilities will be separated from school facilities
| 19.9 | Where practicable an access / exit point separate to that used by staff and pupils should be used.
| 19.1 | School should still follow procedures for controlling access / security whilst contractors are on site.
20.Lettings / Meetings / Visitors | 20.1 | Lettings, visitors and on site meetings with external individuals / groups should cease unless they can only be conducted face to face and are vital / necessary. |  | KL | 2020-06-14
| 20.2 | If they are for vital / necessary educational / health purposes e.g private nurseries, multi agency meetings, mental health sessions, meetings with parent / carers they should only go ahead if social distancing and hygiene rules can be adhered to. | Consider alternative arrangements via Microsoft Teams etc | KL
| 20.3 | Where practicable a separate toilet facility could be identified for the sole use of visitors whilst on site as close as possible to the meeting / letting area and cleaned after their meeting has ceased and before being used by the school again. If this can't be established then inform visitors of the “If You Use It – Wipe It” principle. | Not available due to hub children using disabled toilet | KL | 2020-06-14
| 20.4 | Where possible an access / exit point separate to that used by staff and pupils should be used. | NA
| 20.5 | School should still follow procedures for controlling access / security whilst visitors are on site. Before any adult enters the school they are to be thermal scanned with an infra- red thermometer, ensure the person scanning has appropriate PPE.
21.Pupil Wellbeing | 21.1 | Guidance is available from Powys County Council.
22.Fire safety | 22.1 | Consider if the fire evacuation routes need to be altered to take into account the changed use of the site. | Hub facility in hall - follow hall evacuation procedure. | KL
| 22.2 | Consider if muster points / practices need to be altered so staff and pupils can be 2m apart and that separate groups do not mix |  | KL
| 22.3 | Consider if you need to re-allocate fire marshall roles. | Fire marshall roles to be amended | KL/SLT/Whole staff | 2020-06-25
| 22.4 | Ensure staff know how to use fire extinguishers, where callpoints are etc |  | KL
| 22.5 | Practice new procedures as soon as possible after opening. |  | KL
| 22.6 | Consider if staff and pupil PEEPs need to be amended.
| 22.7 | If changes are made to the current Fire Evacuation Management Plan and staff re-trained this should be added to your Fire Risk Assessment as an interim measure and a sheet attached marked “Interim Amendments to procedures in relation to COVID-19”. In the schools Fire Risk Assessment insert a page inset as an appendices for interim changes to be noted rather than rewriting sections. |  | KL | 2020-06-25
23.Supervision at Lunchtimes | 23.1 | Consider how to allocate staff at lunchtime to ensure supervisors stay with a consistent group of pupils and have adequate breaks. |  | KL/SLT | 2020-06-25
24.Catering | 24.1 | Inform catering staff of any changes to entry / exit points, fire safety procedures, safeguarding etc.. | NA
| 24.2 | Discuss with catering staff if there needs to be alterations to menu choices and systems to allow for quicker / easier distribution to pupils / flow through collection points. E.g limiting meal choices (taking onto account specific dietary and allergy needs), provision of 'packed lunches' instead of hot meals. | NA
| 24.3 | Consider whether meals can be served in the hall or need to be delivered to classrooms and discuss this with catering staff. | NA
| 24.4 | Where possible catering staff should remain in the kitchen / serving hall and use an entrance / exit as close to the kitchen as possible. | NA
| 24.5 | Staff to don appropriate PPE before undertaking food preparation and cooking activity. Staff to dispose of PPE in designated waste bins. | NA
| 24.6 | Tables / seating set out by catering staff should be cleaned before pupils and staff use them and in between each group of staff and pupils. |  | Staff | 2020-06-29
| 24.7 | Catering staff to don appropriate PPE before plating up meals for each individual pupil. Individual pupils collect their plated meal maintaining 2m social distancing at all times and return to the table to eat their meal. When pupils finish the meals then scrape off waste into bins. Cutlery and plates placed on a trolley for collection by staff. Staff then take to dishwasher and wipe down trolley. Staff sanitise the tables and chairs and remove food waste to school bin store Catering staff maintain social distancing from pupils. On completion staff dispose of PPE in school waste bins and hand wash. | NA
| 24.8 | Catering staff should observe the rules of social distancing and hygiene whilst on site. PCC Catering staff may be wearing face masks due to constraints of social distancing and food hygiene. | NA
| 24.9 | Where meals are exported to schools the Catering Service will prepare a risk assessment for each school | NA
25. Individual provision | 25.1 | Staff peg feeding special school pupils in special schools. IMPACT: Direct pupil care assessing an individual that is not currently a possible or confirmed case (within 2 metres) | Staff to don appropriate PPE before undertaking peg feeding activity. Staff to dispose of PPE in designated waste bins.
| 25.2 | Staff supervision and manual handling of pupils for toileting in special schools. IMPACT: Direct pupil care assessing an individual that is not currently a possible or confirmed case (within 2 metres) | Staff to don appropriate PPE before undertaking activity. Staff to dispose of PPE in designated waste bins.
| 25.3 | Children who may physically abuse staff with pre-existing condition in special schools. | Risk assess activity
| 25.4 | Children who require physical intervention/handling by staff with pre-existing condition and handling plan | Risk assess activity
| 25.5 | Any other needs not covered above need to be assessed on an indvidual basis | Risk assess activity
26.Staff Training | 26.1 | School staff should be inducted / become familiar with new working practices before opening the school, this is especially important for staff members who may not have been in school. See also 2.1. | Staff meetings | KL | 12/06/20 19/06/20
27. Drop off of Essential Items Forgotten by Pupils. | 27.1 | A system should be put in place for the potential drop off of essential items a pupil may have forgotten e.g medication, packed lunch. For example, a system such as a 'quarantine bin' / area outside of school reception where the items are left before being cleaned / wiped with anti-viral wipes and delivered to the pupils base. Staff doing this should thoroughly wash hands before and after handling the items. |  | SH | 2020-06-25
28. Transport to School by Bus or School Buses (not public transport buses) | 28.1 | Where pupils travel to school by Bus or School Buses schools should work with PCC Passenger Transport Team to ensure that drop / off and pick up procedures have been considered. PCC Passenger Transport Team can advise school individually to discuss school-by-school arrangements. This is likely to include any new drop off / pick up points, how pupils requiring supervision are escorted to / from the buses, opening times / timetables, likely numbers / names of pupils expected to use the buses. Schools may contact with all enquiries in the first instance. These contact details should not be shared with families. |  | KL
| 28.2 | Consider how to keep access to Bus / School Bus drop off / pick up areas clear of parent / carer vehicles e.g cones, signage etc.. |  | KL
| 28.3 | Where possible keep pupils travelling by Bus / School Bus in the same discrete group within their year group once they are in school. |  | KL | 2020-06-29
| 28.4 | For primary school pupils - where there is a need for parents to board a school bus to buckle their children in the expectation is that this will include any parents boarding a bus for this purpose to wear a face mask. Drivers are not permitted to buckle children in. This should be communicated to parents whose children use these buses. |  | KL | 2020-06-29
29. School Sites Shared with other Users e.g Staff | 29.1 | Where applicable, ensure arrangements that impact on other site users e.g opening times,access / egress routes, changes to fire practices, cleaning regimes, use of shared areas etc ...are discussed / information provided to users who share the school site. |  | KL | 2020-06-29